## Slide 1
Dental Disease Detection

## Slide 2: PROJECT MODULES
Dataset labeling
Data preprocessing
Dental age detection
Dental Disease detection
GUI

## Slide 3: DATASET
Panoramic Dental X-ray images
Total Images: 273
Type of X-ray: Extraoral

## Slide 4: SAMPLE IMAGES
16 Years Male

## Slide 5
5 Years Male

## Slide 6
17 Years Male

## Slide 7
19 Years Female

## Slide 8
4 Years Female

## Slide 9: PANORAMIC X-RAYS
Importance:
  Other dental x-rays are intraoral, shows only a fragment of patient’s dentition
  Panoramic x-rays shows full dentition, conveys largest amount of information
Problems:
  Poor quality
  Low contrast, uneven exposure
  Severe skew
  May contain excessive dental works(braces, tooth fillings) and occlusive teeth
  No universal size or place of jaw in image
  Automatic teeth segmentation is very tough

## Slide 10: DENTAL DISEASES
Impacted Tooth
Rootpiece
Periodontal Disease
Dental Caries
Abscess

## Slide 11: WORK FLOW
Input Image
Image Enhancement
Image Segmentation & ROI Extraction
Neural Network Classifier
Object Detection

## Slide 12: PROJECT OUTLINE
Points around Jaw
Input Image
Addition with 1st Laplacian Pyramid
Brightness & Contrast Correction
Binary Thresholding
Finding points around jaw

## Slide 13: PROJECT OUTLINE
Ellipse Fitting
Jaw Separation
Teeth gap valley detection
Result
Points around Jaw
Upper Jaw
Lower Jaw

## Slide 14: IMAGE ENHANCEMENT
Input image
Gaussian Pyramid
(5 layers)
Laplacian Pyramid
(4 layers)
Min-Max Normalization on 1st layer of Laplacian Pyramid
Addition with original image
Contrast Correction
(alpha,beta)
Brightness correction
(Gamma)

## Slide 15
GAUSSIAN PYRAMID

## Slide 16
GAUSSIAN PYRAMID RECONSTRUCTION

## Slide 17: LAPLACIAN PYRAMID

## Slide 18: Gaussian Pyramid

## Slide 19: Original Image
After addition with 1st Laplacian pyramid layer

## Slide 20: Original Image
After Contrast
& Brightness Correction

## Slide 21: SOLUTION
Fixing Alpha and Beta leads to over exposure and information loss in some images
Dynamic Alpha and Beta for each image
PROBLEM
Information Loss

## Slide 22
Fix Alpha & Beta
Dynamic
Alpha & Beta

## Slide 23: AUTO CONTRAST
Alpha operates as color range amplifier, beta operates as range shift
O(x,y) = alpha * I(x,y) + beta
input range = max(I) - min(I)
wanted output range = 255;
alpha = output range / input range = 255 / ( max(I) - min(I) )
min(O) = alpha * min(I) + beta
beta = -min(I) * alpha

## Slide 25: IMAGE SEGMENTATION
Enhanced Panoramic Dental X-ray
Partition of upper and lower jaw
Extraction of
ROI
Jaw Area Extraction

## Slide 26: JAW AREA EXTRACTION
Enhanced
Image
Binary
Thresholding
Convert image to B/W grid
Find points around jaw
Fitting an ellipse

## Slide 27: BINARY THRESHOLDING

## Slide 28: TRANSFORMING TO GRID

## Slide 29: FINDING MIDPOINTS

## Slide 31: RESULT: POINTS AROUND THE JAW

## Slide 32: Before correction
After correction

## Slide 33: ELLIPSE FITTING

## Slide 34: JAW AREA EXTRACTION

## Slide 35: PARTITION OF UPPER & LOWER JAW
Column wise Summation

## Slide 36: PARTITION OF UPPER & LOWER JAW
Curve Fitting

## Slide 37: JAW SEPERATION

## Slide 38: REMOVAL OF EXTRA PORTIONS
Upper Jaw
Lower Jaw

## Slide 39: TEETH GAP VALLEY DETECTION
Upper Jaw
Lower Jaw

## Slide 40: CHANGE COORDINATE SYSTEM
Upper Jaw
Lower Jaw
Cartesian Coordinates system
Polar Coordinates system

## Slide 41
TEETH ISOLATION
Upper Jaw
Lower Jaw

## Slide 42: ROI EXTRACTION
R1
R2
R3
R4

## Slide 43: RESULT: ROI EXTRACTION
Stages | Result (in %) | Number of images
Jaw extraction | 95.7 | 273
Jaw partitioning | 92.6 | 273
Teeth gap valley detection | 87.5 | 273

## Slide 44
After ROI extraction, we get 4 sub images from each image in the original dataset
Total of 1092 sub images from original 273 images in the dataset
93 images were discarded due to very bad quality
999 images are labeled into 2 classes being diseased and healthy
Number of images in class ‘healthy’: 684
Number of images in class ‘diseased’: 315
Class imbalance removal: using random under sampling
369 x-ray images were eliminated from the ‘healthy’ class
DATASET LABELING

## Slide 45
TL method in conjunction with the Xception network as pre-trained model on ImageNet weights.
Two last layers (logistic and pooling) were removed from the original model
A new Global Average Pooling layer (GAP) was inserted
Followed by a dropout layer with 0.5 of keeping rate.
A logistic layer of two neurons with Sigmoid activation was collocated at the end of the network to predict the probability of the classes.
TRANSFER LEARNING:NN CLASSIFIER

## Slide 47: NETWORK HYPERPARAMETERS
Cost Function | Learning Rate (Lr) | Optimizer |  | No. Epochs | Batch Size | Lr Decay
Binary cross entropy |  | Adam | 100 |  | 8 | 
Cost Function | Learning Rate (Lr) | Optimizer |  | No. Epochs | Batch Size | Lr Decay
Binary cross entropy |  |  | 100 |  | 8 | 

## Slide 48: EXPERIMENTAL SETUP
A partition was performed with an 75-25 hold-out as a validation method
35 images were in test set
The Xception CNN model used in this project and final neural network architecture was implemented in the Deep Learning framework Keras in Tensorflow
The pre-processing technique and ROI extraction were both implemented in Python 3.6 using OpenCV
All experiments were conducted in the Google Collaboratory platform

## Slide 49: CLASSIFICATION RESULT
Best Epoch | Validation Loss | Average training time per epoch | Precision | Recall | F1-Score
29 | 0.0453 | 31s | 0.843 | 0.992 | 0.912

## Slide 50
315 images of class ‘diseased’ will be used here as dataset
Additionally, 120 periapical x-ray images are also used in training of neural network to get better accuracy in object detection.
OBJECT DETECTION: DATASET
Class | Number of labels
PeriodontalDisease | 109
Caries | 80
ImpactedTooth | 57
Abscess | 31
Rootpiece | 30
NoDisease | 101

## Slide 51: PREPROCESSING
Data augmentation was performed as a regularization mechanism to avoid immediate overfitting.
Operations performed at real-time over the training set are as follow:
  Horizontal flipping
  Zoom range of +10% to -10%
  Random rotation of 0.1 degrees
After applying above augmentation techniques randomly, total of 864 images were prepared for the final dataset.

## Slide 52: OBJECT DETECTION: FASTER RCNN
A partition was performed with an 75-25 hold-out as a validation method.
Test set contained 25 images.
Tensorflow using tensorflow object detection API, data augmentation was performed using keras datagenerator.
All experiments were conducted in the Google Collaboratory platform

## Slide 53: OBJECT DETECTION RESULT
The object detection model was trained for 30,000 epochs and the final loss is 0.045.

## Slide 54: FINAL RESULT